Features:

Working  voltage ：DC 5-23V

Working  current：8MA(12V)

MODBUS RTU protocol，03 Read，06Write.

Serial baud rate：9600（default），N，8，1

By modifying the RS485 address, up to 247 module s can be connected (more than 16 US ether485 repeater)

Temperature and humi dity sensor is DHT12

The voltage conversion module is CE018,a High-efficiency and Low-heat voltage Converter

Size：Module is 45 X 30 X 27MM,Shell is 50 X 35 X 22MM

Weight：Module is 11g，Shell is 10g

Use Please refer to : "R414A01 modbus rtu protocol"

Wiring diagram: